NETWORK

OPERATIONS

GUIDELINES

FOR

CO-LOCATION

Version 1.0

CLG Approval Date:	1999-05-31

NOWG Approval Date:	1999-06-28

CISC Approval Date:

CRTC Approval Date:

REVISION HISTORY

| Date | Version | Comments |
| --- | --- | --- |
| 1999-06-28 | 1.0 | Initial consensus version. |

Table of Contents

1.	OVERVIEW	6

1.1	General	6

1.2	Types of Co-location	7

1.2.1	PHYSICAL Type 1	7

1.2.2	PHYSICAL Type 2	7

1.2.3	Virtual Co-location	7

1.3	Maintenance Responsibilities	8

1.4	Contacts	8

1.5	DISPUTES	8

1.6	ACRONYMS and DEFINITIONS	8

2.	PHYSICAL CO-LOCATION	11

2.1	Overview	11

2.2	BILLING AND ACCOUNTING	11

2.3	Roles and Responsibilities	11

2.3.1	Interconnecting Carrier	11

2.3.2	The ILEC	12

2.4	ESCORTS	13

2.4.1	Requirements for Escorts	13

2.4.2	Escort Availability Rules	13

2.4.3	Escort for Regular Maintenance and Circuit Activity Purposes	13

2.4.4	Escort for Emergency Maintenance Purposes	14

2.4.5	Escort Time Charges	14

2.4.6	Meal Breaks	14

2.4.7	Misconduct	15

2.4.8	ILEC Network Events	15

2.4.9	Potential Disrupting Activities	15

2.4.10	Number of Persons	15

2.4.11	Personnel Clearance	15

2.5	Trouble Report Contacts	16

2.6	Escalation	16

2.7	Outages	16

2.8	ACCESS TO SEGREGATED AREAS	16

2.9	Behavioral and Environmental Rules	16

2.9.1	Work and Safety Practices	16

2.9.2	Security Rules	17

2.9.3	Hazard Signs	17

2.9.4	Storage	17

2.9.5	Trash	17

2.9.6	Moving Equipment	17

2.9.7	Cellular Phones	17

2.9.8	Telephone Facilities	17

2.9.9	Locked Equipment Cabinets	17

2.9.10	Smoking	17

2.9.11	Outdoor Clothing	18

2.9.12	Ladders	18

2.9.13	Bulletins	18

2.9.14	Floor Area	18

2.9.15	Fire Regulations	18

2.9.16	Equipment Shipments	18

2.9.17	Electrical Tools	18

2.9.18	Cameras	18

2.9.19	Electrical Outlets	19

3.	Virtual Co-location	20

3.1	Overview	20

3.2	Billing and Accounting	20

3.3	Roles and Responsibilities	20

3.3.1	Interconnecting Carrier (IC)	20

3.3.2	The ILEC	21

3.4	EMERGENCY RESPONSE	22

3.5	Contacts	23

3.6	Escalation	23

3.7	Emergency Operations Procedures (EOP)	23

3.8	Security	23

3.9	Preventive Maintenance	23

3.10	Upgrades	23

3.11	Defective Circuit Packs	24

3.11.1	Maintenance Spares	24

3.11.2	Defective Circuit Packs	24

3.12	Training	24

3.13	Exchange of Information	25

3.14	PROCESS MAPS	25

3.14.1  Process Map for Fault Clearance	26

3.14.2	 Details of Fault Clearance Process Map	27

3.14.3   Process Map for Preventive Maintenance	28

3.14.4	 Details of Preventive Maintenance Process Map	29

4.	Installation of Co-location Equipment	30

4.1	Overview	30

4.2	Additions or Upgrades (IC Initiated)	30

4.3	Relocation or Rearrangement (ILEC initiated)	30

4.4	Termination	30

4.5	Physical Co-location Equipment Installation	31

4.5.1	General	31

4.5.2	Escorts	31

4.5.3	ILEC Maintenance Responsibilities	31

4.5.4	IC Responsibilities	31

4.5.5	Job Review Meeting	32

4.5.6	Testing and Turn-up	32

4.6	Virtual Co-location Equipment Installation	32

4.6.1	General	32

4.6.2	ILEC Network Maintenance Responsibilities	33

4.6.3	IC Responsibilities	33

4.6.4	Testing and Turn-up	34

5.	CO-LOCATION EQUIPMENT INSPECTION	34

INSPECTION	34

6.	Appendix A	35

7.	Appendix B	36

1.	OVERVIEW

1.1	General

For the purposes of this document, the Incumbent Local Exchange Carriers (ILECs) refers to those companies formerly known as the Stentor Owner Companies (SOCs); TELUS, SaskTel, MTS, Bell Canada, NBTEL, MT&T, NewTel and Island Tel.  The competitors, Competitive Local Exchange Carriers (CLECs) or co-locating carrier(s) is/are referred to as the Interconnecting Carriers (IC).

Co-location is an arrangement which provides for access to and use of, subject to availability, certain ILEC Central Office (CO) building space, associated power and environmental conditioning to locate the Interconnecting Carrier’s (IC’s) Transmission Equipment and fibre facilities to the first manhole.  The primary purpose of co-location is for IC interconnection with ILEC facilities.

In other words, the ILEC rents space in its' CO to an IC so that it can place its Transmission Equipment in the ILEC building to access the ILEC facilities whether they are loops or other network facilities.

This document does not replace or supersede the Central Office License Agreement or the Co-location Tariff, but is meant to provide additional information for clarification.

Co-location provides for the following:

1.	A license to use ILEC conduit for the placement of the IC’s fibre optic cable from a designated point outside the CO vault to the IC’s co-located Transmission Equipment or to the fibre transition cabinet, as may be permitted by the ILEC tariff.

2.	A license to use CO floor space for the placement of the IC’s Transmission Equipment to interconnect with ILEC facilities.

Provision of appropriate electrical power and environmental conditioning to operate the IC’s Transmission Equipment.  The terms and conditions of such co-location arrangements are outlined in the Central Office License Agreement (COLA) which will include billing agreement requirements.

1.2	Types of Co-location

1.2.1	PHYSICAL Type 1

Provides the IC with segregated floor space and secure access to that space within the ILEC CO with floor space segregated from that occupied by the ILEC, for the location of the IC’s Transmission Equipment.

Access to this area by the IC’s personnel or delegate/contractor, who have been approved by the ILEC, is permitted without ILEC Escort, where secure access arrangement are in place.  Secure access arrangements means that there is an access door to the building through which the IC personnel can enter without any access to areas other than their own segregated area.

If, at any time, it is not possible to provide a secure access arrangement into the segregated floor space, access is only permitted with ILEC Escort and the Escort will remain in attendance whenever the IC personnel are outside of the segregated area.  This applies only when Escort services are provided.

This means that if the co-location area has its own building access door to the segregated area, Escorts are not required.  If the IC personnel are required to use a common building entrance door, and go through non-segregated space to access their leased space, then an Escort is required.  The segregated area usually is separated from the ILEC area by a wall.

1.2.2	PHYSICAL Type 2

Where offered, provides the IC with unsegregated floor space within the CO for the purpose of locating the IC’s Transmission Equipment. The IC equipment may be in the same area/line up as ILEC equipment.

Access to this area is only permitted with ILEC Escort and the Escort will remain in attendance for the duration of the IC's work operation.

1.2.3	Virtual Co-location

This is an arrangement that provides unsegregated floor space within the ILEC CO for the purposes of locating the IC’s Transmission Equipment.  The cable from the first  manhole and the Transmission Equipment is provided by the IC and leased to the ILEC for a nominal amount.

1.3	Maintenance Responsibilities

The IC is responsible for all aspects of the maintenance of its equipment when it is placed pursuant to a physical co-location COLA.

Pursuant to a virtual co-location COLA, the ILEC  personnel performs all “hands-on” maintenance of the equipment at the direction of the IC which is the system control.   Access to the equipment by IC personnel is not normally required.  Occasional visits for periodic inspection of its facilities and equipment is permitted with an ILEC Escort.

1.4	Contacts

Both the IC and the ILEC will supply a contact number for all maintenance requests and contacts.  The number will be answered 7 days a week, 24 hours per day by competent personnel.

The telephone number will provide a single point of contact within the ILEC for all reasonable requests related to maintenance such as Escort requests, trouble status reports, trouble referrals, problem escalation, environmental concerns, etc.

1.5	DISPUTES

Disputes between the IC and the ILEC arising from the interpretation of the COLA shall be resolved through the process outlined in the COLA.

1.6	ACRONYMS and DEFINITIONS

Central Office (CO)

For purposes of co-location a building that provides switching capability, including tandem and toll offices that house local or toll switches, and COs that provide a wire center.

Central Office License Agreement (COLA)

Is the legal document containing the details of the co-location agreement between the IC and the ILEC related to terminating IC Fibre Facilities and its' associated Transmission Equipment.

Co-location Service Manager (CSM)

Overall ILEC network coordinator, who is responsible for planning and estimating as well as interfacing between the CSG and the ILEC billing groups for all aspects of co-location.

Carrier Service Group (CSG)

Group responsible for interfacing with the IC and other internal ILEC groups for the provision of co-location terms and conditions, estimates, agreements, etc. and which is also responsible for providing ordering and billing details.

Competitive Local Exchange Carrier (CLEC)

Emergency Operations Procedures (EOP)

Prepared recommendations which are designed for responding to abnormal situations  in a manner which best protects the network.

Escort

Refers to the ILEC Central Office technician or delegate responsible to accompany the IC, IC contractor or delegate to the Central Office co-location area.

Facility Work Order (FWO)

Incumbent Local Exchange Carrier (ILEC)

Installation Coordinator

Refers to the ILEC installation coordination group mandated to coordinate and oversee the IC equipment installation, re-arrangement and removal.

Interconnecting Carrier (IC)

Refers to an interconnecting Canadian Carrier.

Method of Procedure (MOP)

National Co-location Equipment List (NCEL)

A list of suitable equipment for co-location made publicly available through the Carrier Services Groups of the SOCs, mandated in paragraph 17 of the Telecom Order CRTC 97-1926.

Normal Business Day (NBD)

Normally Monday to Friday from 0800 hours to 1700 hours, excluding statutory holidays per the ILEC contractual agreement with its employees. This may vary depending upon the ILEC.

Special Facilities Tariff (SFT)

SOC

Stentor Operating Company.

Transmission Equipment

Is co-located equipment installed pursuant to the NCEL or to bi-lateral agreement.

Trouble Reporting Center  (TRC)

A single point of contact for requests or exchange of information related to maintenance such as; trouble status, trouble referrals, escalation, environmental concerns and Escort.

Job Review Meeting

This meeting is held co-incident with the installation, removal or re-arrangement of CO equipment.  It is attended by the telco personnel and the company performing the physical activity.  Minimum attendees are representatives from the network maintenance, IC and Installation Coordinator.

2.	PHYSICAL CO-LOCATION

2.1	Overview

This document is intended for the groups which are responsible for the maintenance of CO equipment in a location where the equipment is placed under a Physical COLA.

Physical co-location is when an IC arranges to provide and place its' equipment in an ILEC CO within a segregated or non segregated area.  This area may be separated from the ILEC equipment by walls or partitions depending upon the type of co-location provided.

The IC is responsible to perform all maintenance on the equipment which is placed under a physical co-location COLA.

2.2	BILLING AND ACCOUNTING

The IC is responsible for all time charges for Escort duty.  Accurate records of activities and time spent must be maintained by the ILEC for audit purposes.

The tracking and billing of Escort duty charges will follow established ILEC Co-location Tariffs, processes and procedures.

2.3	Roles and Responsibilities

2.3.1	Interconnecting Carrier

The IC is responsible for all equipment located in the co-location area.  The same CO rules are applicable to a physical co-location area.

The following is a list of the activities that the IC is responsible for:

Assumes full responsibility for the maintenance and remote surveillance activities related to the IC equipment placed in the co-location area.

Initiate requests for Escorts when a premises visit is required.  The request will include:

name of person making request

Co-location area to be visited

date and time the visit is required

IC trouble ticket number

Building CLLI for the physically co-located equipment

name(s) of person(s) to be escorted

brief description of activity and expected duration

NOTE: initiates requests only to the ILEC accredited contact group and only for visits to a co-location area.

Provide a single contact number that is accessible 24 hours per day, 7 days per week (7/24) for all contacts concerning co-location equipment.

Show proper identification prior to entering an ILEC building and follow appropriate ILEC security arrangements.

Follow the ILEC behavioral and environmental rules while in the ILEC CO.

Participate as required in joint trouble resolution.

2.3.2	The ILEC

The ILEC maintenance personnel’s prime responsibility in physical co-location is that of providing Escort service as requested by the IC.  They play no role in performing any maintenance of the IC equipment.

The following is a list of the activities that the ILEC maintenance personnel are responsible to:

Provide a single contact number that is accessible 24 hours per day, 7 days per week (7/24). This number is to be used for all contacts, e.g., Escort requests, trouble referrals, escalation, environmental concerns, etc.

Receive requests for Escorts from the designated IC prime person(s) and records the following information:

name of person making request

location to be visited

date and time the visit is required

name(s) of person(s) to be escorted

brief description of activity and expected duration

NOTE: accepts requests only from the IC accredited contact group and only for work in the co-location area.

Respond to Escort request when required.

Provides visible identification to ICs and its' delegates per existing security procedures for the building being visited.

Escorts the IC's personnel and/or its' delegates to the co-location area and remains in attendance as required by the type of co-location.  Outside of the equipment area, the Escort restricts them to the basic common areas, e.g., washroom, lunch room, loading dock, etc.

Maintains an accurate record of time spent performing escort duty and forwards to the ILEC billing group per established procedures.

Retains at the one point of contact a copy of the COLA and Schedules.

Participate as required in joint trouble resolution.

Maintain environmental elements to proper operating conditions for telecommunications equipment.

Notify the IC of any ILEC activity that could impact IC equipment, e.g., power rearrangements, environmental changes, etc.

Administer EOP (Emergency Operations Procedures) to ensure the well-being of IC personnel or delegates while on ILEC premises.

2.4	ESCORTS

This section applies only when Escort services are provided.

2.4.1	Requirements for Escorts

Escorts for IC personnel or their approved delegates are required as follows:

IF

The co-location activity

is in a:

AND

| there is: | THEN |
| --- | --- |

Segregated area

|  | Secure access | No Escort required. |
| --- | --- | --- |
| Segregated area | No secure access | Escort required anytime while not within the segregated area. |
| Non-segregated area |
| Escort required for duration of work operation. |

2.4.2	Escort Availability Rules

The ILEC will make its' best commercially reasonable effort to make an Escort available as promptly as possible, consistent with the ILEC’s operational requirements and capabilities.

The following should be taken under consideration for providing an Escort:

IC urgency of request,

ILEC priorities,

National and ILEC emergency situations,

ILEC availability of personnel and work load,

Time and day of request (call out), and

Location requested (travel distance).

2.4.3	Escort for Regular Maintenance and Circuit Activity Purposes

Local agreement must be reached between the IC and the ILEC for access on a regular basis to perform scheduled maintenance. Access during off-normal hours for non-emergency conditions must be negotiated and scheduled in advance via the ILEC contact group.

2.4.4	Escort for Emergency Maintenance Purposes

For emergency repair or emergency maintenance of the IC equipment, the ILEC will use their existing callout practices and their best efforts to make an Escort available as promptly as possible, consistent with the ILEC operational requirements and capabilities.

Escort service outside normal business hours will generally only be available for emergency out of service conditions.  Time will be charged at ILEC premium rates as per the applicable ILEC Co-location Tariff.

2.4.5	Escort Time Charges

The following table illustrates how ILEC personnel will record their time for Escort charges:

| Normal Business Day | Off Normal Hours |
| --- | --- |
|  | Start Time | Stop Time | Start Time | Stop Time |

Office Attended (with staff capable of performing escort function)

|  | Escort meets the IC (NOTE 1) | IC leaves | Escort meets the IC | IC leaves |
| --- | --- | --- | --- | --- |

Office Unattended

|  | Escort leaves present location | IC leaves | Escort is contacted |
| --- | --- | --- | --- |

Escort returns

(NOTE 2)

NBD:	Normal Business Day,  normally Monday to Friday, 0800 hours to 1700 hours, excluding statutory holidays per ILEC contractual agreement with its employees.  This may vary depending upon the ILEC.

NOTE 1: When Escorts are required only for access to and exit from the co-location area, actual Escort time is charged.

NOTE 2: There will be a minimum time charge for a call-out per the Tariff.

2.4.6	Meal Breaks

All Escort meal breaks shall be as designated by the ILEC under applicable collective agreements.  The time charges will stop during the Escort meal breaks and  the IC may be required to leave the co-location space and resume work once the meal break is over.  No multiple Escorts will be provided during a contiguous shift in order to allow the IC to continue working during required ILEC breaks.

2.4.7	Misconduct

The ILEC reserves the right to expel any IC personnel for misconduct, or to deny access to the ILEC premises, any employee, agent or contractor of the IC at any time.

2.4.8	ILEC Network Events

During events of National interest and/or impact, and during emergency conditions, LECs impose restrictions on installation and maintenance activities.  These restrictions are defined in Network Management Guidelines. (examples are provided below).

It is expected that all LECs will be cognizant of these restrictions and negotiate their application on a bi-lateral basis.

Condition Brown signifies an event of national, international or local interest where it is desirable to restrict activities on plant facilities in order to avoid service disruptions.  Examples are; political or sporting events and military exercises.  The objective of condition Brown is to limit activities on plant facilities.

Condition Orange signifies a specific threat or sustained evidence of an attempt to disrupt telecommunications services on a national, regional or local basis. e.g., sabotage and civil disturbances.  The objective of condition Orange is to tighten security measures on important telecommunications facilities.  From a network viewpoint, this entails increased security procedures in COs and critical telecommunications sites.  The additional security measures may include, but are not limited to; additional patrols, more stringent physical access to COs, additional inspections of mail and parcels delivered to COs and changing of door codes.

2.4.9	Potential Disrupting Activities

The ILEC may require that some scheduled activities be performed during designated off normal hours at ILEC discretion.

2.4.10	Number of Persons

The ILEC reserves the right to limit the number of persons granted access at any given time when excessive numbers will jeopardize security control and or safety of its own equipment.

2.4.11	Personnel Clearance

Personnel granted access to the co-located area will be approved in accordance with the appropriate COLA.

2.5	Trouble Report Contacts

A centralized trouble report number for the appropriate referral of troubles will be supplied by the IC and by the ILEC.  This number will be readily accessible 24 hours per day and 7 days per week (7/24) so that answering delays are not encountered.  Updates to the trouble report numbers will be made as required.

2.6	Escalation

On occasion, problems may occur that cannot be resolved to the satisfaction of one of the parties.  It will then be necessary to escalate the problem to the appropriate person in the other company.  The escalation process will be via the 7/24 contact telephone number.  The person(s) answering this number will be responsible to fully cooperate with the caller to put them in contact with the appropriate person for further resolution of the problem.

2.7	Outages

The IC shall be responsible to notify the ILEC contact center of any significant outages within the Transmission Equipment which could, in the reasonable assessment of the IC, impact or degrade the ILEC’s switching equipment and other facilities. As well, the ILEC shall be responsible to notify the IC contact center of any network or equipment outages which could potentially impact or degrade the IC’s co-located equipment.

2.8	ACCESS TO SEGREGATED AREAS

The IC shall provide sufficient information to the ILEC to enable access to the licensed segregated areas for; Emergency Operations Procedures (EOP), environmental problems or inspections.

2.9	Behavioral and Environmental Rules

2.9.1	Work and Safety Practices

The IC will conduct all activities regarding; installation, connection, testing and maintenance, in a manner consistent with ILEC safety practices, both with respect to employee safety and the safe operation of equipment, so as not to jeopardize the ILEC’s network, employees or any other parties.

During work activities, all property belonging to the IC or the IC’s contractor, shall be used and stored in a manner to prevent any danger to the safety of all personnel in the area and/or damage to the ILEC equipment.

2.9.2	Security Rules

Local security rules as applied and posted by the ILEC in the equipment area apply to any IC representative while on the ILEC site.

2.9.3	Hazard Signs

The IC should erect hazard signs when its' activities can create a danger to any other personnel.

2.9.4	Storage

Spare equipment, surplus hardware, tools, test sets or documentation shall not be left on the ILEC's premises outside of the segregated area, unless storage space is provided and specified in the terms of the COLA or in a separate agreement. Storage within the segregated area will conform to existing ILEC storage requirements.

2.9.5	Trash

The IC is responsible for the removal and disposal of all waste material resulting from contracted installation or maintenance activities.  All areas where IC activity takes place will be left clean by the IC representative before leaving the site on a daily basis.

2.9.6	Moving Equipment

While moving equipment, proper protective precautions should be used such as protective sheathing on floors and at corners.

2.9.7	Cellular Phones

Within an ILEC equipment area, the use of cellular phone or any other radio transmitter is prohibited.  The ILEC should be consulted regarding permissible locations.

2.9.8	Telephone Facilities

The use of the ILEC telephone facilities that has not been provisioned for use by the IC, is not permitted.

2.9.9	Locked Equipment Cabinets

Equipment cabinets (if placed under the terms of the COLA) will not be locked for fire safety reasons.

2.9.10	Smoking

Smoking in all ILEC buildings is not allowed, except in designated areas.

2.9.11	Outdoor Clothing

Outdoor clothing and over boots must be removed before entering an equipment area and placed in an appropriate facility provided.

2.9.12	Ladders

No tool or test set should be left unattended on any ladder.  Ladders shall be checked for occupancy and safety prior to use.  Ladders used by the IC or its' representative will be  made of non-conductive material.

2.9.13	Bulletins

No signs, graphics logos, or notices should be placed by the IC or it's authorized contractor, in or outside of the building, other than those to communicate specific information concerning the IC' equipment.  The location and content must be approved by the ILEC network maintenance manager prior to posting.

2.9.14	Floor Area

Floor area must be kept clean and equipment drawings, manuals, etc. shall not be left lying on equipment.

2.9.15	Fire Regulations

Fire regulations and rules must be observed at all times.

2.9.16	Equipment Shipments

Equipment shipped to an ILEC location must be addressed appropriately with the IC name and any job or project specific numbers.

2.9.17	Electrical Tools

No electric tools such as drills and saws shall be used in a CO without permission of the ILEC maintenance personnel.  This is to ensure that there is EMI compliance and that the ILEC equipment is not in danger of being affected.

2.9.18	Cameras

No cameras are allowed in the ILEC premises without the approval of the ILEC network maintenance manager.

2.9.19	Electrical Outlets

The IC shall use only electrical outlets placed within the segregated co-location area for their use. Permission must be obtained from the ILEC maintenance personnel to use ILEC electrical outlets in non-segregated areas.

3.	Virtual Co-location

3.1	Overview

This document is intended for the groups who are responsible for the maintenance of CO equipment in a location where the equipment is placed under a Virtual COLA.

Virtual co-location refers to an arrangement where an IC arranges to provide and place its' equipment in an ILEC CO.  The equipment may be located in the same aisle or area as the ILEC’s existing equipment.  After installation, it is leased to the ILEC for a nominal fee.

The ILEC will perform maintenance of the IC equipment located in its CO under the control and direction of the IC.  The IC is prime for the equipment and system control function.

3.2	Billing and Accounting

The IC is responsible for all time and material charges related to maintenance and rearrangement of virtually co-located equipment.  Accurate records of activities and time spent must be maintained for audit purposes.

The tracking and billing will follow established ILEC processes and procedures.

The IC will be responsible for establishing a contract with a delivery company (taxi and/or courier) to transport items such as circuit packs, tapes, test equipment etc., from the ILEC to the IC  This contract will be the responsibility of the IC for administration and account settlement.

3.3	Roles and Responsibilities

3.3.1	Interconnecting Carrier (IC)

The IC is the system control office for all equipment located in an ILEC CO under a virtual co-location COLA.  This means that it is prime for system analysis, performance and initiation of maintenance requests.  The systems will normally be monitored at a centralized location remote from the ILEC building by the IC or its designated group.  Audible alarms will not be enabled in the ILEC CO.  The IC is prime to initiate and request all maintenance, upgrade, update and rearrangement activity.

Following is a list of the activities that the IC is responsible for:

Controlling function for all systems/equipment that is virtually located.

Responding to all alarm and system performance monitoring indicators.

System surveillance.

Analyzing system and or equipment performance.

Directing all work activity on the virtually co-located equipment.

Providing all requests for corrective maintenance in writing or orally.

Performing software changes using the remote access system/terminal wherever possible.

Coordinating and directing system hardware and software upgrades.

Coordinating and directing system rearrangements and changes.

Giving necessary releases for any system/equipment activity.

Scheduling and requesting in writing the ILEC to perform preventive maintenance on the virtually co-located equipment.

Initiating all requests for maintenance activity on virtually co-located equipment by ILEC personnel.

Maintaining a serialized log of all requests for the ILEC to perform maintenance, upgrades, rearrangements and changes activity.  Included in the log are:

date and time of the request,

building CLLI for the virtually co-located equipment,

ILEC ticket number and name of ILEC person receiving request,

response time,

name of person responding,

action taken,

date and time of work completion, and

work time.

Maintaining accurate records of equipment in place and circuits assigned.

Providing a single contact number that is accessible 24 hours per day, 7 days per week (7/24).

Designating an appropriate contact person(s) for conveying all maintenance requests.

Retaining at the one point of contact, a copy of the COLA and Schedules.

Providing; all required test equipment, tapes, computer, circuit packs, etc. that are necessary to maintain the CO equipment and establishing a delivery contract to transport them to and from the ILEC office.

3.3.2	The ILEC

The ILEC maintenance personnel will perform the actual hands-on activity required on the virtually co-located equipment.  The ILEC will only do this at the request and direction of the authorized IC personnel.

The ILEC network maintenance personnel are responsible for:

Maintaining a serialized log of all requests from the IC for corrective maintenance on the virtual co-located equipment.  Included in the log shall be:

date and time the request was received,

building CLLI for the virtually co-located equipment,

IC ticket number and the name of the person making the request,

person dispatched,

response time,

action taken,

work time, and

time released by the IC.

Responding to requests from the IC for trouble clearing activity (with appropriately trained personnel).

Performing work on the virtual co-located equipment as directed by the IC.

Accurately tracking time spent on virtually co-located equipment maintenance and forwarding monthly report to the billing group.

Packing and shipping (collect) defective circuit packs, software tapes, etc. to the virtually co-located equipment owner.

Notifying IC of any physical troubles or potential troubles that could impact on the virtually co-located equipment.

Designating an appropriate contact person(s) for receiving all maintenance requests.

Retaining at the one point of contact a copy of the COLA and Schedules.

Providing a single contact number that is accessible 24 hours per day, 7 days per week (7/24).

Providing and maintaining the same security and environmental precautions for the co-located equipment as it does for its own equipment.

Maintaining virtually co-located equipment using their own normal CO hand tools (e.g. screwdriver, pliers, strippers, cords, etc.).  If due to the nature of the equipment, specialized hand tools or cords are required, then the IC will be required to supply one tool per location at the time of installation.  The only test set supplied by the ILEC is a multimeter.  All other test equipment is required to be supplied by the IC.

It is not the responsibility of the ILEC for monitoring the operation, performance or functioning of the virtually co-located equipment, or for initiating or providing any maintenance in the absence of specific requests from the IC.

3.4	EMERGENCY RESPONSE

The ILEC will use its best effort in responding to emergency repair requests.  This normally means responding as soon as reasonably possible using existing ILEC processes and procedures.  Any special requirements or extenuating circumstances which would regularly impact on response time should be reviewed and documented in the COLA.

The ILEC will use every reasonable effort (using the same diligence and procedures as it does for its own equipment problems) to ensure that the person responding is qualified to perform the tasks necessary.  This means that the person responding should be previously trained on the virtually co-located equipment.  If this is not possible, the ILEC will advise the IC as soon as it becomes known that a trained person is not available.  At this point, the ILEC will offer to respond with a similarly trained and experienced person (e.g., competent with other transmission technologies).  If this is not acceptable to the IC, it should be escalated following the procedures in paragraph 3.6.

3.5	Contacts

Both the ILEC and the IC will be responsible for providing a designated contact person(s) for conveying and receiving all maintenance requests.  This will normally be the appropriate surveillance or dispatch organization.  The telephone number provided for the contact shall be answered 7 days a week and 24 hours a day.

3.6	Escalation

On occasion, problems may occur that cannot be resolved to the satisfaction of one of the parties.  It will then be necessary to escalate the problem to the appropriate person in the other company.  The escalation process will be via the 7/24 contact telephone number.  The person(s) answering this number will be responsible to fully cooperate with the caller to put them in contact with the appropriate person.

3.7	Emergency Operations Procedures (EOP)

Virtually co-located equipment will be treated in the same manner as ILEC equipment for EOP purposes.  There shall be no discrimination due to the nature of the equipment or prime user.  The ILEC will use its' best judgment in prioritizing any EOP activity that may be required.

3.8	Security

If IC personnel are required to physically access the virtually co-located equipment, they shall be escorted per the guidelines established for physical co-location.

3.9	Preventive Maintenance

The IC shall provide all requests for preventive maintenance in writing.  It is suggested that a dialogue be conducted between the ILEC forces and the IC to develop and confirm a schedule.  Even though a confirmed schedule exists, the ILEC personnel will not perform any preventive maintenance without first contacting the appropriate IC contact for authority to proceed and for direction.  The nature and detail of the direction may vary depending upon the complexity of the work to be performed.  Normally all work on virtually co-located equipment will be at the specific direction of the IC.

3.10	Upgrades

Upgrades may be performed by the equipment manufacturer, contractor or ILEC personnel.  The ILEC must be notified in writing of all upgrades which require personnel in attendance at the virtually co-located equipment location at least 20 working days prior to the work commencing.  Schedules and the Method of Procedure (MOP) will be confirmed via dialogue/meeting with the ILEC, IC and personnel performing the upgrade.  Copies of the MOP and all details agreed to will be documented by the IC and distributed to all parties involved.  This will normally be completed 15 working days prior to the date that the upgrade will be performed.

The IC will arrange for all necessary releases and perform the control function.

3.11	Defective Circuit Packs

3.11.1	Maintenance Spares

The IC is responsible for the purchase and provisioning of maintenance spares.  Normally they will be maintained and stored at an IC location and shipped to the virtually co-located equipment location as required.  ILEC maintenance spares will not be used to repair a fault in equipment placed under virtual co-location.  A spares cabinet will not normally be placed under a virtual co-location arrangement; if necessary, it will be provided under an addendum to the COLA or a Special Facilities Tariff (SFT).

3.11.2	Defective Circuit Packs

Defective circuit packs will be shipped to the IC within 2 business days from the time they are identified and removed from the equipment.  Each defective pack returned will have a tag attached to it containing the following information:

IC trouble ticket number,

Building CLLI for the virtually co-located equipment,

Serial number of the circuit pack, and

Date the circuit pack was identified as defective and replaced.

All ILEC time and costs involved with packing, packing material, shipping, repair, etc.  of the defective circuit pack will be the responsibility of the IC.  The circuit packs will be shipped collect via courier/taxi.

3.12	Training

At the time of the equipment installation the IC will be responsible for providing the appropriate level of training to the number of people required and agreed to in the COLA.  The number of people will vary depending upon the circumstances such as:

Is this the “first of” the technology in the ILEC area?

Are there similar technologies in the ILEC area?

Is the office attended?

Is the office remote?

It is to the advantage of the IC to train as many ILEC people as possible.  This will increase the base of appropriately trained personnel available whenever emergency response is required.

The ILEC is responsible to maintain the quantity of trained people available at the level agreed to.  Subsequent training required due to ILEC staff turnover is the responsibility of the ILEC.

Additional training required due to hardware and software upgrades or enhancements is the responsibility of the IC as determined by the IC.

The IC will select the training course and specify the level of training required, e.g., board changing only, full maintenance course, etc.   A copy of the course objectives and tasks that the students will be able to perform upon successful completion of the course will be provided to the ILEC.  All costs associated with the initial training will be borne by the IC.  If additional training is required due to a change in the scope or tasks to be performed by the ILEC personnel then all costs associated with the training will be borne by the IC.  Training costs required due to equipment upgrades are also the responsibility of the IC.

3.13	Exchange of Information

There is a requirement for both the ILEC and the IC to provide each other with detailed information to facilitate the expedient trouble resolution.  Appendix A to this document contains a form which is required to be completed (Part A by the ILEC and Part B by the IC) prior to equipment turn up.  Each party is responsible for any updates/changes on its portion of the form and for distribution of the updated form to the other.

Copies of the completed form will be kept at:

IC Trouble Report Center (TRC)

ILEC Trouble Report Center (TRC)

Virtually co-located equipment location

3.14	PROCESS MAPS

The following pages contain process maps and descriptive backup material which provide a more detailed explanation of the action and output for each of the task boxes on the process maps.  The processes are:

FAULT CLEARANCE: This map describes the steps from the time the IC determines that maintenance assistance for fault clearance is required at the virtually co-located equipment until the fault is cleared and the ILEC technician is released and the information is forwarded to the ILEC billing group.

PREVENTIVE MAINTENANCE: This map describes the steps from when the IC prepares the schedule of preventive maintenance work until the work is completed and the information is passed to the ILEC billing group.

3.14.1  Process Map for Fault Clearance

3.14.2	 Details of Fault Clearance Process Map

| BOX | ACTION | OUTPUT |
| --- | --- | --- |
| 1 | Analysis of surveillance or trouble indicators indicates that maintenance personnel are required at the virtual co-location equipment location. |
|  | 2 | Contacts Trouble Reporting Center (TRC) for IC (if it is different than the surveillance center) and requests ILEC personnel to attend virtually co-located equipment location. | Provides: building location, equipment designation and type of assistance. |
| 3 | Contacts ILEC via predetermined method and requests ILEC personnel to attend virtually co-located equipment location. Logs details using appropriate methods and systems. | Provides: building location, equipment designation and type, type of assistance and trouble reference number. |
| 4 | Logs request details using ILEC trouble tracking system and initiates call to appropriately trained maintenance technician for dispatch to virtually co-located equipment location. |

Completed trouble log

Maintenance technician dispatched.

5

Arranges to attend virtually co-located equipment location per request.

| Upon arrival, calls the predetermined IC surveillance contact for direction. | Contacts IC surveillance contact. |
| --- | --- |
| 6 | Records details of ILEC personnel time and location. |
|  | 7 | Dialogues with the ILEC personnel to perform the necessary trouble clearing activities. | Instructions and when to perform each step of the trouble clearing activity. |
| 8 | Dialogues with the IC and performs the necessary trouble clearing activity when directed. | Completed trouble clearing activity. |
| 9 | Decision-IC determines whether maintenance spares are required. |
|  | 10 |

Initiates IC internal procedures to ship necessary maintenance spare(s) to the virtually co-located equipment location.

Removes appropriate equipment from service to allow suspected defective circuit pack replacement.

Provides release on equipment to ILEC personnel.

Maintenance spares shipped to virtually co-located equipment location

| Provides release on equipment |
| --- |
| 11 | Replaces defective circuit pack using industry/manufacturer standards. | Informs IC of completion of circuit pack. |
| 12 | Decision-did replacement of circuit pack correct the trouble? |
|  | 13 |

Restore equipment to fully operational.

Advise ILEC personnel that they are released.

| Uses internal procedures to close trouble report. | Releases ILEC maintenance personnel and confirms release time. |
| --- | --- |
| 14 | Contacts ILEC TRC and advises them of trouble clearance | Provides date, time of release. |
| 15 |

Closes trouble log with information provided by ILEC maintenance personnel.

| Prepares appropriate documentation for billing IC for time spent. | Completed form to billing dept. |
| --- | --- |

3.14.3   Process Map for Preventive Maintenance

3.14.4	 Details of Preventive Maintenance Process Map

| BOX | ACTION | OUTPUT |
| --- | --- | --- |
| 1 | Prepare list of preventive maintenance work items (routines) and document on a schedule per manufacturers guidelines and local requirements. | List of routines and dates scheduled. |
| 2 | Enters routines into admin. system and forwards copy of admin. system output to maintenance personnel. | Standard work schedules. |
| 3 | Files schedule using established methods and procedures. |
|  | 4 | At least two business days prior to scheduled date the IC contacts the ILEC to confirm personnel availability. | Request for decision to perform work. |
| 5 | Reviews schedule and staff availability. |
|  | 6 | Decision: Can work proceed based upon trained personnel availability. |
|  | 7 | If unable to complete due to ILEC personnel then IC must be contacted and negotiate another schedule date. |
|  | 8 |

Contact ILEC and provide details for work to be performed.

Schedules IC staff as necessary.

To be completed 24 hours prior to time work is to be performed.

Time scheduled.

Contact name and number.

Equipment release information.

Shipment of test equipment (if applicable).

| Instructions for scheduled work activity. |
| --- |
| 9 | Record details and schedule appropriately trained personnel. | Personnel scheduled. |
| 10 | Contacts IC for authorization to proceed. |
|  | 11 | Arranges for equipment release if necessary, opens activity log and provides ILEC with necessary instructions. |

Equipment release.

Work activity direction.

| Log reference number for tracking activity. |
| --- |
| 12 | Performs scheduled maintenance as directed. | Preventive maintenance completed. |
| 13 | Decision-Is preventive maintenance complete and equipment returned to service and functioning normally? |
|  | 14 | Advise ILEC technician of work complete and closes log. | Provides log closure time and release. |
| 15 | Contacts Trouble Reporting Center. | Provides IC log number, work activity summary and time spent. |
| 16 | Prepares appropriate documentation for billing of time to IC. | Completed form to billing dept. |

4.	Installation of Co-location Equipment

4.1	Overview

This section is intended to provide the groups responsible for the maintenance of CO equipment with the overall roles and responsibilities of the various groups involved with the installation and turn up of co-location equipment.

Within the ILEC there is a Co-location Service Manager (CSM) who is the ILEC overall prime.  The CSM is the focal point for gathering inputs from all of the ILEC groups involved and provides a single point of contact for co-location issues/problems.

The Installation Coordinator is the on-site contact for liaison with the IC for on-site installation activity.  They perform the same function for co-location installations as they do for an ILEC installation.

ILEC normal processes and procedures will be used as part of all co-location installation and construction activity.  This means that the ILEC and IC forces will participate in Job Review Meetings chaired by the Installation Coordinator.

4.2	Additions or Upgrades (IC Initiated)

IC’s requests for additions or upgrades will be handled  using existing Co-location provisioning processes.

The addition/upgrade will be coordinated by the ILEC Installation Coordinator using established ILEC processes.

4.3	Relocation or Rearrangement (ILEC initiated)

Under the terms of the COLA, the ILEC may initiate a relocation or rearrangement of the equipment in a COLA.  Relocation or rearrangements required by the ILEC will be explained prior to the move.

The ILEC will determine whether the relocation/rearrangement will be performed by the ILEC, by the IC, or jointly.  Established ILEC processes will be used to complete the relocation/rearrangement.

4.4	Termination

Guidelines for termination of a virtual co-location arrangement and removal of equipment are covered in the appropriate section of the COLA.

4.5	Physical Co-location Equipment Installation

4.5.1	General

The local maintenance forces have no direct involvement with the installation process of CO equipment placed under a Physical COLA.  They will be required to provide Escorts as required for IC personnel or their delegates.

4.5.2	Escorts

The same rules apply for Escorts during the installation phase as previously documented in Section 2 of this practice.  The source of the request for Escorts will be the Installation Coordinator who is prime for the supervision of the equipment and will follow similar methods and processes as for ILEC equipment installations.

Any special scheduling requests for off normal hours will be identified at the Job Review Meetings.  Sufficient lead time is required to enable the ILEC to reasonably accommodate the request.

4.5.3	ILEC Maintenance Responsibilities

The ILEC maintenance personnel will be involved with the installation of physically co-located equipment in the following areas:

They will be consulted by the group performing the building planning function in the selection of the co-location area.

They will perform an Escort function for the IC personnel and/or delegates as requested by the Installation Coordinator.

They will participate in Job Review Meetings chaired by the Installation Coordinator.

They will provide an estimate of the project management time that will be required.

They will track and report time and expenses related to the co-location installation.

Any problems or concerns that the network maintenance personnel have will be relayed to the IC via the Installation Coordinator who is overall prime to ensure that the equipment is installed safely and to ILEC requirements.  This applies to both equipment installation and any physical/structural rearrangements that are necessary.

4.5.4	IC Responsibilities

Install equipment in a safe manner and within ILEC technical requirements for items such as grounding and bonding, etc.

Provide sufficient notice for Escort requests so that the ILEC can reasonably accommodate them.

4.5.5	Job Review Meeting

Prior to start of the installation or construction activity, the Installation Coordinator is responsible to schedule and chair the first Job Review Meeting.  Additional meetings are scheduled as required.

The Job Review Meeting will be held on site between the ILEC network maintenance personnel and IC or designated representatives and other involved groups to discuss at minimum the following items:

Scope of job

Schedule

Hours of work

Security, building access and Escort

Safety

Equipment delivery

Parking, housekeeping and real estate items

Cable holes

Connections to ILEC power provided equipment

Telephones

4.5.6	Testing and Turn-up

The testing and turn-up of the IC equipment is the responsibility of the IC.

The Installation Coordinator is responsible to coordinate any required system testing between the ILEC network maintenance group and the IC or the IC’s contractor.  Testing consists of verification of the wiring (connecting/interconnecting links) required to connect the IC equipment to the point of termination or interconnection to the ILEC.  This cooperative testing will serve to highlight and flag any wiring problems and allow for repair before any service requests.

4.6	Virtual Co-location Equipment Installation

4.6.1	General

Under a virtual co-location COLA, the local maintenance forces are required to treat the equipment as if it was their own.  That is, normal ILEC project flow will be used for installation, turn-up and initial line-up.  The IC will be the overall control (Control Office) for the completion of the facility work or equivalent.

4.6.2	ILEC Network Maintenance Responsibilities

The ILEC network maintenance personnel will be involved with the provisioning of virtual co-located equipment in the following areas:

They will be consulted by the building planning groups in the selection of the floor space.

They will participate in Job Review Meeting chaired by the Installation Coordinator.

They will provide an estimate of the project management time that will be required.

They will track and report time and expenses related to the co-location installation.

They schedule personnel on training provided by IC.

They work with installation forces in equipment turn up.

They complete line up and tests required to complete the Facility Work Order (FWO) under the direction of the IC.

They perform acceptance tests per the installation instructions and notify the IC of any deficiencies.

They connect the equipment to the ILEC network when the equipment and facilities have passed the necessary tests.

They complete Part A of the virtually co-located equipment information data sheet (Appendix A).

They meet with the IC operations representative and review and complete the operations check list for virtual co-location data sheet (Appendix B).

4.6.3	IC Responsibilities

The IC forces are responsible for:

providing training to ILEC personnel prior to equipment turn up.

providing any test sets, tapes, etc. that are required to perform the equipment turn-up, line-up and completion of the Facility Work Order.

providing the ILEC with installation instructions.

providing assistance and co-operation to the ILEC so that the latter can install and accept the equipment and facilities to ensure satisfactory installation, testing and operation of the virtually co-located equipment.

completing Part B of the virtual co-location equipment Information data sheet (Appendix A).

meeting with the ILEC operations representative to review and complete the operations checklist for virtual co-location data sheet (Appendix B).

4.6.4	Testing and Turn-up

Upon completion of the installation of the Transmission Equipment and IC facilities, the ILEC shall perform the acceptance tests that form part of the installation instructions.  If the Transmission Equipment fails to meet acceptance test limits, the ILEC and the IC will cooperatively work together to resolve failures and deficiencies.

The IC will provide any test data, equipment or simulations which are required by the ILEC to ensure satisfactory installation, testing and turn-up of Transmission Equipment and IC facilities.

The ILEC will provide the IC with written confirmation of successful acceptance of the Transmission Equipment.

5.	CO-LOCATION EQUIPMENT INSPECTION

INSPECTION

The ILEC may at the time of installation, and subsequently on a periodic basis, access the co-location area to inspect the Transmission Equipment.  Where practical, the ILEC will notify the IC in advance of the inspection and the IC shall have the right to be present at the time of inspection.

6.	Appendix A

VIRTUAL CO-LOCATION EQUIPMENT INFORMATION

PART A Date (ccyy/mm/dd) completed by the ILEC      /    /      	ILEC INFORMATION

ILEC name

____________________________________

Equipment

Type: Designation

Building CLLI

____________________________________

Location

Floor____________   Aisle and bay Location_____________

Street__________________________________________

City_____________________ Postal Code_____________

Trouble Report Center (7/24)

(_______)_______________________

Attended

No

Yes     Days  M  T  W  T  F  S  S (circle appropriate days)

Time:   From _________ To ___________

OTHER:

PART B Date (ccyy/mm/dd) completed by the IC       /    /              	IC INFORMATION

IC company name

____________________________________

Trouble Report Center (7/24)

(______)_______________________

Circuit pack and equipment shipping detail

Courier:______________________________

Contract/Reference #__________________________

Return circuit packs/equipment to:

Dept.:____________________

Street:________________________________

City:____________________ Postal Code:____________

7.	Appendix B

OPERATIONS CHECKLIST FOR VIRTUAL CO-LOCATION

Virtual co-location equipment location______________________________

Part A-Storage and Tools (to be completed by the IC Operations Representative)

Does the IC require storage space for any of the following items in the virtual co-location area?

Maintenance Spares		Yes     No

Test Sets			Yes     No

If storage space is required, then an addendum to the COLA or Special Facilities Tariff will be required.

Are any special tools or test cords required   	Yes*  ___________   No

to be supplied by the IC                                                         Supplied  CCYY/MM/DD

*If YES then attach a list of Tools and Test Cords supplied

Part B Training (Items 1 to 3 to be completed by IC, Item 4 Jointly and  Items 5 and 6 completed by ILEC)

Quantity of ILEC personnel to be trained by the IC_________

Training duration _____ hours

Training location_____________________________

Training dates and quantity of students per date:

Quantity ___________    Date _______________

Quantity ___________    Date _______________

Quantity ___________    Date _______________

Quantity ___________    Date _______________

(Date CCYY/MM/DD)

Copy of course objectives provided to ILEC       Yes ___________

Supplied  CCYY/MM/DD

Copy of tasks provided to ILEC                          Yes ___________

Supplied  CCYY/MM/DD

Part C Information Exchange

Equipment documentation supplied to ILEC.				Yes ___________

Supplied  CCYY/MM/DD

Virtual co-location equipment information form (Appendix A) completed.	Yes  ___________

Completed CCYY/MM/DD

_________   ___________________________   _________   ___________________________

(Date CCYY/MM/DD)                           (ILEC Representative)                                    (Date CCYY/MM/DD)                                (IC Representative)